## C983037: 'To verify that the infusion system provides an on screen visual indicator to indicate status the Standalone Rechargeable Battery in the infuser.' (CADD-SYSDI-234, CADD-SYSDI-750, CADD-HWDI-PWR-34).

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **GENERAL INFORMATION SECTION** | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | | |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **Test Executor** | | | **Print Name** | | | | | | | | | | | | | | | | | | | | **Sign Name / Date** | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | |  | | | | | | | | | | |
|  | | | | | | | | | | | | | | | | | | | |  | | | | | | | | | | |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **Start Test** | | | **Date** | | | | | | | | **Time** | | | | | |  | **Completion Test** | | | | **Date** | | | | | | **Time** | | | | | |
|  | | | | | | | |  | | | | | |  |  | | | | | |  | | | | | |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| **Environmental Conditions** | | | | | | | | | | | | | | | | |  | **Test Designation** | | | | | **Descriptions** | | | | | | | | | | |
| **Condition** | | | **Temperature** | | | **RH%** | | | **Sign/Date** | | | | | | | |  | **Test Run ID:** | | | | |  | | | | | | | | | | |
| **Initial** | | |  | | |  | | |  | | | | | | | |  | **Test Case ID:** | | | | | CXXXXX | | | | | | | | | | |
| **Final** | | |  | | |  | | |  | | | | | | | |  | **Test ID:** | | | | |  | | | | | | | | | | |

|  |
| --- |
| **EQUIPMENT, MATERIAL AND DOCUMENTATION SECTION** |

| **Equipment and Material Description** | **Quantity** | **Part Number / List number / ID** | **Lot Number / SN / Cal\_ID** | **Calibration Due Date / SW Version** |
| --- | --- | --- | --- | --- |
| CADD Solis Infuser |  |  |  |  |
| CADD Consumable |  |  |  |  |
| Extension set |  |  |  |  |
| IV Bag |  |  |  |  |
| CADD Key |  |  |  |  |
| AA Alkaline Batteries |  |  |  |  |
| Temperature Meter |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **Documents number** | **Documents description** | **Revision** |
|  |  |  |
|  |  |  |
|  |  |  |

# Table 1. Requirements CADD-SYSDI-73 and CADD-SYSDI-75 conditions verification

| **No.** | **Infuser Serial Number** | The infuser stops the infusion | The infuser stops the infusion | The infuser provides an alarm | The infuser stops the infusion | The infuser provides an alarm | The infuser stops the infusion | **Sign Name/Date** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Step 1 Sub-step 8** | **Step 1 Sub-step 16** | **Step 2 Sub-step 10** | **Step 2 Sub-step 12** | **Step 2 Sub-step 17** | **Step 2 Sub-step 20** |
| CADD-SYSDI-73  **(condition)** | CADD-SYSDI-73  **(condition)** | CADD-SYSDI-75  **(condition)** | CADD-SYSDI-73  **(condition)** | CADD-SYSDI-75  **(condition)** | CADD-SYSDI-73  **(condition)** |
| 1 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 2 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 3 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 4 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 5 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 6 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 7 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 8 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 9 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 10 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 11 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 12 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 13 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 14 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 15 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 16 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 17 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 18 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 19 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 20 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 21 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 822 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 23 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 24 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 25 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 26 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 27 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 28 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |
| 29 |  | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ | Pass □ / Fail □ |  |

# Table 2. Requirements CADD-SYSDI-XX and CADD-SYSDI-XX verification

| **Requirement** | **Verification Steps** | **Result** | **Signature/Date** |
| --- | --- | --- | --- |
| CADD-SYSDI-XX | Texto requerimiento | Pass □ / Fail □ |  |
| CADD-HWDI-XXX-XX | Texto requerimiento | Pass □ / Fail □ |  |

Comments:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |
| --- | --- | --- |
| **Test Reviewer** | **Print Name** | **Sign Name / Date** |
|  |  |

## END OF DOCUMENT